## 2019 Cost Estimate
St. Mary's County Metropolitan Commission
23121 Camden Way, California, Maryland 20619
Serving St. Mary's County
Potable Water Distribution - Wastewater Collection / Treatment
Water and Sewer Construction Cost Estimate
Calendar Year 2022
Note: If phased please complete a separate estimate for each phase or section.
Project Name and Phase (if applicable):
Developer:
| Engineering Firm: |  |  |  |  | Completed by:
LUGM Number:
| Water EDUs: | Sewer EDUs: |  |  | Date:
Water
| Item / Description |  |  | Unit | Quantity | Unit Price | Total
| 1" Corp. Stops |  |  | EA. |  | 310.2392 | 0
| 1-1/2" Corp. Stops |  |  | EA. |  | 717.6657 | 0
| 2" Corp. Stops |  |  | EA. |  | 904.1565 | 0
| 1" Curb Stop w/box |  |  | EA. |  | 679.138 | 0
| 1 1/2" Curb Stop w/box |  |  | EA. |  | 1094.73 | 0
| 2" Curb Stop w/box |  |  | EA. |  | 1094.73 | 0
| 1" Copper WHC |  |  | L.F. |  | 132 | 0
| 1-1/4" Copper WHC |  |  | L.F. |  | 151 | 0
| 1-1/2" Copper WHC |  |  | L.F. |  | 91 | 0
| 2" Copper WHC |  |  | L.F. |  | 108 | 0
| 4" Main, DIP CL - 52 |  |  | L.F. |  | 140 | 0
| 6" Main, DIP CL - 52 |  |  | L.F. |  | 270.5 | 0
| 8" Main, DIP CL - 52 |  |  | L.F. |  | 195 | 0
| 10" Main, DIP CL - 52 |  |  | L.F. |  | 405 | 0
| 12" Main, DIP CL - 52 |  |  | L.F. |  | 226 | 0
| 16" Main, DIP CL - 52 |  |  | L.F. |  | 326.3823 | 0
| 20" Main, DIP CL - 52 |  |  | L.F. |  | 457.9677 | 0
| 4" Main, C-900, SDR - 21 PVC |  |  | L.F. |  | 90 | 0
| 6" Main, C-900, SDR - 21 PVC |  |  | L.F. |  | 105 | 0
| 8" Main, C-900, SDR - 21 PVC |  |  | L.F. |  | 214.5 | 0
| 10" Main, C-900, SDR - 21 PVC |  |  | L.F. |  | 121 | 0
| 12" Main, C-900, SDR - 21 PVC |  |  | L.F. |  | 130 | 0
| 4" Main, HDPE DR - 11 |  |  | L.F. |  | 33.084 | 0
| 6" Main, HDPE DR - 11 |  |  | L.F. |  | 62.6485 | 0
| 8" Main, HDPE DR - 11 |  |  | L.F. |  | 72.9257 | 0
| 10" Main, HDPE DR - 11 |  |  | L.F. |  | 101.8332 | 0
| 12" Main, HDPE DR - 11 |  |  | L.F. |  | 137.5921 | 0
| 4" Valve & Box |  |  | E.A. |  | 3342.9435 | 0
| 6" Valve & Box |  |  | E.A. |  | 3592.68 | 0
| 8" Valve & Box |  |  | E.A. |  | 4401.43 | 0
Water Subtotal (Sheet 1): | [5 empty] | 0
Water Cont.
| Item / Description |  |  | Unit | Quantity | Unit Price | Total
| 10" Valve & Box |  |  | E.A. |  | 6636 | 0
| 12" Valve & Box |  |  | E.A. |  | 8208.457 | 0
| 16" Valve & Box |  |  | E.A. |  | 23413.0402 | 0
| 8"x 4" Tapping Sleeve & Valve |  |  | E.A. |  | 6594.8941 | 0
| 8" x 6" Tapping Sleeve & Valve |  |  | E.A. |  | 7365.3066 | 0
| 8" x 8" Tapping Sleeve & Valve |  |  | E.A. |  | 8723.5827 | 0
| 12" x 6" Tapping Sleeve & Valve |  |  | E.A. |  | 9222.0959 | 0
| 12" x 8" Tapping Sleeve & Valve |  |  | E.A. |  | 10641.1903 | 0
| 12" x 12" Tapping Sleeve & Valve |  |  | E.A. |  | 15371.4582 | 0
| 6" Fire Hydrants, Assembly |  |  | E.A. |  | 9554.5 | 0
| Post Indicator Valve |  |  | E.A. |  | 4013.2122 | 0
| 4" Blowoff |  |  | E.A. |  | 3342.9435 | 0
| 6" Blowoff |  |  | E.A. |  | 4052.5376 | 0
| 8" Blowoff |  |  | E.A. |  | 4964.8126 | 0
| 12" Blowoff |  |  | E.A. |  | 8208.457 | 0
| 4" Check Valve |  |  | E.A. |  | 6079.8154 | 0
| 8" Check Valve |  |  | E.A. |  | 11148.0098 | 0
| Air Release Valve and Vault |  |  | E.A. |  | 26748.8037 | 0
| Bore & Jack (Up to 24" Casing w/Grout) |  |  | L.F. |  | 1483.9485 | 0
| Directional Drilling up to 12" |  |  | L.F. |  | 22.59 | 0
| Concrete Encasement |  |  | C.Y. |  | 431.7351 | 0
| Borrow Backfill Material (Quantity = 10% of total linear feet of pipe) |  |  | L.F. |  | 96 | 0
0
0
0
0
0
Water Subtotal (Sheet 2): | [5 empty] | 0
Water Subtotal (Sheet 1): | [5 empty] | 0
Water Total: | [5 empty] | 0
* Please include the estimated cost of water storage tanks as an additional line item in the cost estimate.
Sewer
| Item / Description |  |  | Unit | Quantity | Unit Price | Total
| 6" Clean-out Assembly |  |  | E.A. |  | 1702.9133 | 0
| 4" Gravity PVC SDR - 35 / C900 DR 14 |  |  | L.F. |  | 164 | 0
| 6" Gravity PVC SDR - 35 / C900 DR 14 |  |  | L.F. |  | 172 | 0
| 8" Gravity PVC SDR - 35 / C900 DR 14 |  |  | L.F. |  | 369 | 0
| 10" Gravity PVC SDR - 35 / C900 DR 14 |  |  | L.F. |  | 222 | 0
| 12" Gravity PVC SDR - 35 / C900 DR 14 |  |  | L.F. |  | 249 | 0
| 24" Gravity, RCP |  |  | L.F. |  | 533.1459 | 0
| 4" Force Sewer, HDPE / DR-11 |  |  | L.F. |  | 33.084 | 0
| 6" Force Sewer, HDPE / DR-11 |  |  | L.F. |  | 62.6485 | 0
| 8" Force Sewer, HDPE / DR-11 |  |  | L.F. |  | 72.9257 | 0
| 10" Force Sewer, HDPE / DR-11 |  |  | L.F. |  | 101.8332 | 0
| 12" Force Sewer, HDPE / DR-11 |  |  | L.F. |  | 137.5921 | 0
| 6" Gravity/Force Sewer, DIP Cl-52 |  |  | L.F. |  | 136.2312 | 0
| 8" Gravity/Force Sewer, DIP Cl-52 |  |  | L.F. |  | 285 | 0
| 10" Gravity/Force Sewer. DIP Cl-52 |  |  | L.F. |  | 300 | 0
| 12" Gravity/Force Sewer, DIP Cl-52 |  |  | L.F. |  | 324 | 0
| 16" Gravity/Force Sewer, DIP Cl-52 |  |  | L.F. |  | 326.3823 | 0
| 20" Gravity/Force Sewer DIP Cl-52 |  |  | L.F. |  | 457.9677 | 0
| 1-1/2" Force Sewer, PVC SDR -21 |  |  | L.F. |  | 111 | 0
| 2" Force Sewer, PVC SDR -21 |  |  | L.F. |  | 111 | 0
| 2-1/2" Force Sewer, PVC SDR -22 |  |  | L.F. |  | 113 | 0
| 3" Force Sewer, PVC SDR - 21 |  |  | L.F. |  | 113 | 0
| 4" Force Sewer, PVC C900 / DR18 |  |  | L.F. |  | 23.37 | 0
| 6" Force Sewer, PVC C900 / DR18 |  |  | L.F. |  | 35.3835 | 0
| 8" Force Sewer, PVC C900 / DR18 |  |  | L.F. |  | 52.9345 | 0
| 10" Force Sewer, PVC C900 / DR18 |  |  | L.F. |  | 73.9581 | 0
| 12" Force Sewer, PVC C900 / DR18 |  |  | L.F. |  | 262.621 | 0
| 1-1/2" Valve & Box |  |  | E.A. |  | 1405.4854 | 0
| 2" Valve & Box |  |  | E.A. |  | 1417.8274 | 0
| 2-1/2" Valve & Box |  |  | E.A. |  | 2051.3986 | 0
| 3" Valve & Box |  |  | E.A. |  | 1746.4622 | 0
| 4" Valve & Box |  |  | E.A. |  | 3342.9435 | 0
| 6" Valve & Box |  |  | E.A. |  | 4052.5376 | 0
| MH-4' Dia., Precast |  |  | V.F. |  | 751.26 | 0
| MH-5' Dia., Precast |  |  | V.F. |  | 2060 | 0
| Adjust 4' Dia MH Rings |  |  | V.F. |  | 847.4213 | 0
| Adjust 5' Dia MH Rings |  |  | V.F. |  | 1216.3675 | 0
| MH - 6' Dia. Doghouse |  |  | V.F. |  | 34411 | 0
| Standard Frame & Cover |  |  | EA. |  | 1768 | 0
| Water Tight Frame & Cover |  |  | EA. |  | 2365.8144 | 0
| Drop Connection (Inside or Out) |  |  | EA. |  | 3618.1277 | 0
| Inserta-Tee |  |  | EA. |  | 3284.9408 | 0
| Kor-n-Seal, Tie-in to Manhole |  |  | EA. |  | 3618.1277 | 0
| Air Release Valve and Vault |  |  | E.A. |  | 26748.8037 | 0
| Bore & Jack (Up to 24" Casing w/Grout) |  |  | L.F. |  | 1483.9485 | 0
| Directional Drilling up to 12" |  |  | L.F. |  | 25.4818 | 0
| Flushing Connection |  |  | E.A. |  | 7039.1589 | 0
| Grinder Pump, Duplex |  |  | E.A. |  | 37542.1807 | 0
| Oil/Grease Interceptors |  |  | E.A. |  | 29329.8286 | 0
| Septic Tank |  |  | 1000 Gal |  | 3650.0854 | 0
| Borrow Backfill Material (Quantity = 10% of total linear feet of pipe) |  |  | L.F. |  | 96 | 0
| WWPS (Insert LS From Engineer's Estimate)* |  |  | L.S. | 1 |  | 0
0
0
0
0
* Please include the estimated cost of simplex grinder pumps and pump stations as an additional line item in the cost estimate.
Totals
| Water Total: |  |  |  |  | 0
| Sewer total: |  |  |  |  | 0
| Subtotal: |  |  |  |  | 0
| Contingencies (10% of subtotal): |  |  |  |  | 0
| Total: |  |  |  |  | 0
| Construction and Mobilization: |  |  |  |  | 0
(10% of Total Construction Cost, $500 min. $2500 max.)
| Construction Survey Including Field Engineering: |  |  |  |  | 0
(5% of Total Construction Cost, $1000 min. $50,000 max.)
| Engineer's Cost Estimate: |  |  |  |  | 0
(Total of Water, Sewer, Construction Mobilization., and Construction Survey, Rounded to the nearest $100)
| Bond/ Letter of Credit: |  |  |  |  | 0
(110% of Engineers Cost Estimate, Rounded to the nearest $100)
| Water and/or Sewer Infrastructure Inspection: |  |  |  |  | 0
(2.5% of Bond/LOC amount (if applicable), or 2.5% of 110% of the Engineer's Cost Estimate, rounded to the nearest $100 if no Bond/LOC is required, for projects £ $385k; or 1.5% of Bond/LOC amount (if applicable), or 1.5% of 110% of the Engineer's Cost Estimate, rounded to the nearest $100 if no Bond/LOC is required, for projects > $385k.
* Note: The prices for the pipes include the cost for bends, tees, crosses, reducers, caps, and all other incidentals.
**Note: This estimate is for MetCom use only and should not be used for any other purpose.
FOR METCOM STAFF ONLY
St. Mary's County
Metropolitan Commission
Engineering Department
Reviewed for general conformance with design concept of the project and general compliance with requirements of the contract documents only. No contract requirements are waved.
|  |  |  | Approved |  | Revise & Resubmit
|  |  |  | Approved as Noted |  | Rejected
By: Date:
Phone: 301-737-7400
FAX: 301-737-7458